## Report
MePDCL - RTDAS
NPP
From to
SL.NO | NAME OF THE CIRLCE | NAME OF THE DIVISION | NAME OF THE TOWN | NAME OF 33/11 KV SUB-STATION | NAME OF THE 11 KV FEEDER | FEEDER CODE | URBAN / RURAL | START DATE | END DATE | PLANNED OUTAGE (LC) |  | UNPLANNED OUTAGE (MASTER TRIP) |  | FAILURE |  | VOLTAGE |  | CURRENT |  | ACTIVE POWER |  | REACTIVE POWER
[10 empty] | SAIDI | SAIFI | SAIDI | SAIFI | QTD | DURATION | MIN | MAX | MIN | MAX | MIN | MAX | MIN | MAX
1 | SHI | EKH | SMT | SMT | MAWRYNGKNENG |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0.33 | 0.95 | 0 | 0 | 1 | 00:02:51 | 33.01 | 33.98 | 100.09 | 100.99 | 50.11 | 50.97 | 500.11 | 500.94
2 | SHI | EKH | SMT | SMT | SMIT |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 33.02 | 34 | 100 | 100.92 | 50.02 | 50.92 | 500.19 | 500.99
3 | SHI | EKH | SMT | SMT | FEEDER_3 |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0.33 | 0.95 | 1 | 00:02:51 | 33.03 | 33.91 | 100.03 | 100.89 | 50.03 | 50.91 | 500.02 | 501
4 | SHI | SHC | PL | MWP | LANGKYRDING | FD1 |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0.25 | 0.71 | 0 | 0 | 1 | 00:02:51 | 50 | 50 | 0 | 0 | 33.2 | 33.91 | 100.01 | 100.93
5 | SHI | SHC | PL | MWP | NONGMYNSONG | FD2 |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 50.07 | 50.98 | 500.04 | 501 | 200.02 | 200.99 | 0 | 0
6 | SHI | SHC | PL | MWP | MAWPAT | FD3 |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0.25 | 0.71 | 0 | 0 | 1 | 00:02:51 | 100.13 | 100.95 | 33 | 33.93 | 100.23 | 100.99 | 1 | 1
7 | SHI | SHC | PL | MWP | LUMKHYRIEM | FD4 |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0.25 | 0.71 | 0 | 0 | 1 | 00:02:51 | 0 | 0 | 33.04 | 33.87 | 100.05 | 100.96 | 33.03 | 33.99
8 | SHI | SHC | UMJ | MWG | UMJAPUNG |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 500.03 | 500.98 | 200.04 | 201 | 0 | 0 | 50 | 50
9 | SHI | SHC | UMJ | MWG | HONSEN ROAD |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 33.06 | 33.94 | 100.12 | 100.97 | 1 | 1 | 50.05 | 50.94
10 | SHI | SHC | UMJ | MWG | MLP |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 33.02 | 33.86 | 100.19 | 100.98 | 33.04 | 33.92 | 100.16 | 100.98
11 | SHI | SHC | UMJ | UMJ | KYNTONMASSAR |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 200.02 | 200.99 | 0 | 0 | 50 | 50 | 0 | 0
12 | SHI | SHC | UMJ | UMJ | MAWTAWAR |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 100.02 | 100.95 | 1 | 1 | 50.08 | 50.95 | 500.1 | 500.99
13 | SHI | SHC | UMJ | UMJ | FEEDER_3 |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 100.03 | 100.99 | 33.11 | 33.97 | 100.05 | 100.99 | 33.09 | 33.94
14 | SHI | SHC | UMJ | UMJ | FEEDER_4 |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 50 | 50 | 0 | 0 | 33.03 | 33.85
15 | SHI | SHC | UMJ | UMJ | FEEDER_5 |  |  | 4/22/2026 12:00:00 AM | 4/22/2026 11:59:59 PM | 0 | 0 | 0 | 0 | 0 | - | 1 | 1 | 50.06 | 50.9 | 500.02 | 500.97 | 200.02 | 200.98